# POLICY EBBBA-R               AUTOMATED EXTERNAL

# October 2008                  DEFIBRILLATOR   PROCEDURES

# Physician Responsibilities

Dr. Jones will write a prescription for the AED devices.  Dr. Jones is a licensed physician in the state of North Carolina.

# Training Requirements

AED training is offered by the American Red Cross and the American Heart Association.  Any employee that is expected to provide emergency care will be trained in CPR and AED use.  The training shall include the recognition of cardiac arrest symptoms, cardiopulmonary resuscitation, and proper use of an automatic external defibrillator.  Designated first responders at each school will be trained in AED use.  The principal shall maintain a list of all staff members with current certification to be reviewed and updated annually.  Please also refer to the Medical Emergencies Policy and Procedure for Gates County Schools.

# Location of AED Devices

The AEDs shall be located in a place designated to provide public access.  The type of device, plan for maintenance, and location of device on the premises shall be confirmed  in writing to the Gates County Emergency Medical Services Director.  Some key areas to consider for determining where to locate an AED station for adequate AED accessibility are:

- In a reception or common area

- Near cafeterias, auditoriums, gymnasiums, ball fields

- Near a fire extinguisher station

- With athletic trainers

- Near student health areas

The AED device may be “signed out” to a trained, responsible adult for athletic events and other school-sponsored activities as needed.  It is the responsibility of this individual to return the AED device to its stationary location on the school campus prior to the beginning of the next regular school day.  In the event that the AED device is used for an emergency response, the school principal and/or his/her designee should be notified.

# Maintenance of AEDs

All AED units will receive monthly maintenance checks to insure that all equipment is in ready-to-use condition and that the AED battery is charged, with a backup charge pack available.  The following records must be maintained on site:

- Manufacturer’s instructions

- Written self-inspection records

- Training records

- Copy of the physician’s prescription form

The principal shall designate a staff member, trained in AED use, to regularly inspect the AED and maintain written self-inspection records.  The procedure from the manufacturer’s instructions will be performed monthly.

# Quality Assurance

The Automated External Defibrillator Use Report should be completed for each use of the AED device.  The principal and school nurse shall review this form.  The principal and/or his/her designee shall request replacement of used equipment and put new equipment in the AED station immediately.  Supplies shall be ordered from the school’s funds.